## Sheet1
物料编码 | 物料名称 | 型号规格 | 型号规格（整理） | 查询到型号 | 产品说明 | 产品状态 | 停产时间 | 替代产品
C0046860 | 扩展模块 | 1734-ACNR | 1734-ACNR | 1734-ACNR | POINT I/O CONTROLNET NETWORK ADAPTOR | mature |  | 1734-AENTR
C0046861 | 接口模块 | 1734-SSI | 1734-SSI | 1734-SSI | POINT I/O SSI ENCODER MODULE | active
C0046784 | 机架 | 1746-A10 | 1746-A10 | 1746-A10 | SLC 10 SLOTS CHASSIS | mature |  | 1746-A13
C0046774 | 机架 | 1746-A13 | 1746-A13 | 1746-A13 | SLC 13 SLOTS CHASSIS | mature |  | MIGRATION TO CMX SOLUTION
C0069256 | 机架 | 1746-A7 | 1746-A7 | 1746-A7 | SLC 7 SLOTS CHASSIS | mature |  | 1746-A10 OR 1746-A13
C0046759 | 开关量输入模块 | 1746-IB16 | 1746-IB16 | 1746-IB16 | SLC 16 POINT DC INPUT MODULE | mature |  | 1746-IB32
C0046760 | 模板 | 1746-IM16 | 1746-IM16 | 1746-IM16 | SLC 16 POINT 240V AC INPUT MODULE | mature |  | MIGRATE TO CMX SOLUTION
C0046859 | 模块 | 1746-NI8 | 1746-NI8 | 1746-NI8 | SLC 8 POINT ANALOG INPUT MODULE | mature |  | MIGRATE TO CMX SOLUTION
C0073074 | 模块 | 1746-NR8 | 1746-NR8 | 1746-NR8 | SLC 8 POINT RESISTANCE INPUT MODULE | mature |  | MIGRATE TO CMX 1769-IR6
C0046761 | 模板 | 1746-OW16 | 1746-OW16 | 1746-OW16 | SLC 16 POINT DIGITAL OUTPUT MODULE | mature |  | MIGRATE TO CMX 1769-OW16
C0046758 | 电源模块 | 1746-P2 | 1746-P2 | 1746-P2 | SLC RACK MOUNTING POWER SUPPLY | mature |  | MIGRATE TO CMX SOLUTION
C0046757 | 电源模板 | 1746-P4 | 1746-P4 | 1746-P4 | SLC RACK MOUNTING POWER SUPPLY | mature |  | MIGRATE TO CMX SOLUTION
C0046783 | 电池 | 1747-BA | 1747-BA | 1747-BA | SLC LITHIUM BATTERY | mature
C0046754 | CPU模块 | 1747-L532 | 1747-L532 | 1747-L532 | SLC 5/03 16K CONTROLLER | mature |  | MIGRATE TO CMX SOLUTION
C0046775 | 处理器 | 1747-L542 | 1747-L542 | 1747-L542 | SLC 5/04 32K CONTROLLER | mature |  | MIGRATE TO CMX SOLUTION
C0046782 | 控制器 | 1747-L543 | 1747-L543 | 1747-L543 | SLC 5/04 64K CONTROLLER | mature |  | MIGRATE TO CMX SOLUTION
C0083377 | 机架 | 1756-A10 | 1756-A10 | 1756-A10 | CONTROLLOGIX 10 SLOTS CHASSIS | active
C0046793 | 框架 | 1756-A10/B | 1756-A10 | 1756-A10 | CONTROLLOGIX 10 SLOTS CHASSIS | active
C0046852 | 13槽框架 | 1756-A13 | 1756-A13 | 1756-A13 | CONTROLLOGIX 13 SLOTS CHASSIS | active
C0046762 | 模块背板 | 1756-A17 | 1756-A17 | 1756-A17 | CONTROLLOGIX 17 SLOTS CHASSIS | active
C0083373 | 机架 | 1756-A7 | 1756-A7 | 1756-A7 | CONTROLLOGIX 7 SLOTS CHASSIS | active
C0046785 | 框架 | 1756-A7/B | 1756-A7 | 1756-A7 | CONTROLLOGIX 7 SLOTS CHASSIS | active
C0046835 | 电池 | 1756-BA1 | 1756-BA1 | 1756-BA1 | CONTROLLOGIX FLEXLOGIX BATTERY | mature |  | Migrate to Logix
C0063006 | 电池 | 1756-BA2 | 1756-BA2 | 1756-BA2 | CONTROLLOGIX L6X SER B ONLY BATTERY ASSY | mature |  | Migrate to Logix
C0046816 | 电池 | 1756-BATM/A | 1756-BATM | 1756-BATM | CONTROLLOGIX BATTERY MODULE | discontinued | 07/18/2017
C0083683 | C网网桥模块 | 1756-CN2R | 1756-CN2R | 1756-CN2R | CONTROLLOGIX COMMUNICATION MODULE | mature |  | 1756-EN*
C0046769 | 通讯模块 | 1756-CNB | 1756-CNB | 1756-CNB | CONTROLLOGIX COMMUNICATION MODULE | mature |  | 1756-EN*
C0046780 | 通讯模块 | 1756-CNBR | 1756-CNBR | 1756-CNBR | CONTROLLOGIX COMMUNICATION MODULE | mature |  | 1756-EN*
C0046838 | 通讯电缆 | 1756-CP3 | 1756-CP3 | 1756-CP3 | LOGIX FAMILY RS232 PROGRAMMER CABLE | mature |  | Migrate to Logix
C0046797 | DEVICE NET网卡 | 1756-DNB | 1756-DNB | 1756-DNB | CONTROLLOGIX DEVICENET COMMS MODULE | active
C0083375 | 以太网模块 | 1756-EN2T | 1756-EN2T | 1756-EN2T | CLX HI-CAP ENET/IP MODULE - TP | active
C0046791 | 以太网通讯模块 | 1756-ENBT | 1756-ENBT | 1756-ENBT | CONTROLLOGIX ENET/IP COMMS MODULE | mature |  | 1756-EN2T
C0046799 | 高速计数模块 | 1756-HSC | 1756-HSC | 1756-HSC | CONTROLLOGIX HIGH SPEED COUNTER MODULE | active
C0046801 | 开关量输入模块 | 1756-IB16 | 1756-IB16 | 1756-IB16 | CONTROLLOGIX 16 PT 12/24V DC D/I MODULE | active
C0046824 | 开关量输入模块 | 1756-IB16I | 1756-IB16I | 1756-IB16I | CONTROLLOGIX INPUT MODULE | active
C0046794 | 开关量输入模块 | 1756-IB32 | 1756-IB32 | 1756-IB32 | CONTROLLOGIX 32 PT 12/24V DC D/I MODULE | active
C0046820 | 数字量输入模块 | 1756-IB32/B | 1756-IB32 | 1756-IB32 | CONTROLLOGIX 32 PT 12/24V DC D/I MODULE | active
C0046764 | 模拟量输入模块 | 1756-IF16 | 1756-IF16 | 1756-IF16 | CONTROLLOGIX 16 PT A/I MODULE | active
C0046817 | 模拟量输入模块 | 1756-IF16/A | 1756-IF16 | 1756-IF16 | CONTROLLOGIX 16 PT A/I MODULE | active
C0046800 | 模拟量输入模块 | 1756-IF4FXOF2F | 1756-IF4FXOF2F | 1756-IF4FXOF2F | CONTROLLOGIX 4 POINT ANALOG COMB MODULE | active
C0046788 | 模拟量输入模块 | 1756-IF6I | 1756-IF6I | 1756-IF6I | CONTROLLOGIX 6 POINT ISOLATED A/I MODULE | discontinued | 03/31/2017 | 1756-IF8I with FW 2.011
C0046825 | 模拟量输入模块 | 1756-IF8 | 1756-IF8 | 1756-IF8 | CONTROLLOGIX 8 POINT A/I MODULE | active
C0069253 | 数字量输入模块 | 1756-IM16I | 1756-IM16I | 1756-IM16I | CONTROLLOGIX 16 POINT D/I MODULE | active
C0046765 | 热电阻模块 | 1756-IR6I | 1756-IR6I | 1756-IR6I | CONTROLLOGIX 6 PT ISOLATED RTD IN MODULE | discontinued | 03/31/2017 | 1756-IRT8I with FW 2.011
C0046766 | 热电偶模块 | 1756-IT6I | 1756-IT6I | 1756-IT6I | CONTROLLOGIX 6 PT ISOLATED TC IN MODULE | discontinued | 03/31/2017 | 1756-IRT8I with FW 2.011
C0046862 | 热电偶模块 | 1756-IT6I2 A | 1756-IT6I2 | 1756-IT6I2 | CONTROLLOGIX 6 PT ENHANCED TC IN MODULE | discontinued | 03/31/2017 | 1756-IRT8I with FW 2.011
C0069255 | 控制模块 | 1756-L1M2 | 1756-L1M2 | 1756-L1M2 | LOGIX5550 PROCESSOR/1M BYTE EXPAN. MEM | discontinued | 03/31/2011
C0046823 | CPU | 1756-L61 | 1756-L61 | 1756-L61 | CONTROLLOGIX 2 MB MEMORY CONTROLLER | discontinued | 06/01/2017 | CONTROLLOGIX 1756-L71
C0061102 | CPU | 1756-L62 | 1756-L62 | 1756-L62 | CONTROLLOGIX 4 MB MEMORY CONTROLLER | discontinued | 06/01/2017 | CONTROLLOGIX 1756-L72
C0046796 | CPU模块 | 1756-L63 | 1756-L63 | 1756-L63 | CONTROLLOGIX 8 MB MEMORY CONTROLLER | discontinued | 06/01/2017 | CONTROLLOGIX 1756-L73
C0083374 | 控制器 | 1756-L71 | 1756-L71 | 1756-L71 | CONTROLLOGIX 2 MB CONTROLLER | active
C0078278 | 控制器 | 1756-L72 | 1756-L72 | 1756-L72 | CONTROLLOGIX 4 MB CONTROLLER | active
C0083376 | 空槽槽盖 | 1756-N2 | 1756-N2 | 1756-N2 | CONTROLLOGIX EMPTY SLOT COVER | active
C0069254 | 数字量输出模块 | 1756-OA16I | 1756-OA16I | 1756-OA16I | CONTROLLOGIX 16 POINT D/O MODULE | active
C0060456 | 模板 | 1756-OB16E | 1756-OB16E | 1756-OB16E | CONTROLLOGIX 16 POINT D/O MODULE | active
C0046887 | 开出模块 | 1756-OB16I | 1756-OB16I | 1756-OB16I | CONTROLLOGIX 16 POINT D/O MODULE | active
C0046789 | 开关量输出模块 | 1756-OB32 | 1756-OB32 | 1756-OB32 | CONTROLLOGIX 32 PT 12/24V DC D/O MODULE | active
C0046819 | 数字量输出模块 | 1756-OB32/A | 1756-OB32 | 1756-OB32 | CONTROLLOGIX 32 PT 12/24V DC D/O MODULE | active
C0046853 | 模拟量输出模块 | 1756-OF4 | 1756-OF4 | 1756-OF4 | CONTROLLOGIX 4 POINT A/O I OR V MODULE | active
C0046826 | 模拟量输出模块 | 1756-OF6CI | 1756-OF6CI | 1756-OF6CI | CONTROLLOGIX 6 PT ISOLATED MODULE | discontinued | 12/21/2016 | 1756-OF8I with FW 2.011
C0046763 | 模拟量输出模块 | 1756-OF8 | 1756-OF8 | 1756-OF8 | CONTROLLOGIX 8 PT A/O I OR V MODULE | active
C0046821 | 电源 | 1756-PA72 | 1756-PA72 | 1756-PA72 | CONTROLLOGIX AC POWER SUPPLY | active
C0046787 | 电源模块 | 1756-PA75 | 1756-PA75 | 1756-PA75 | CONTROLLOGIX AC POWER SUPPLY | active
C0046885 | 冗余模块 | 1756-RM | 1756-RM | 1756-RM | CONTROLLOGIX REDUNDANCY MODULE | discontinued | 09/30/2013
C0046803 | 可拆卸端子块 | 1756-TBCH | 1756-TBCH | 1756-TBCH | CONTROLLOGIX 36 PIN SCREW TERMINAL BLOCK | active
C0046850 | 20针端子 | 1756-TBNH | 1756-TBNH | 1756-TBNH | CONTROLLOGIX 20 PIN SCREW TERMINAL BLOCK | active
C0060658 | 端子连接器 | 1756-TBS6H | 1756-TBS6H | 1756-TBS6H | CONTROLLOGIX 36 PIN SPRING TRM BLOCK | active
C0046827 | 冗余适配器 | 1757-SRM | 1757-SRM | 1757-SRM | PROCESSLOGIX SYSTEM REDUNDANCY MODULE | discontinued | 09/30/2010
C0046848 | 接口模块 | 1769-ADN | 1769-ADN | 1769-ADN | COMPACTLOGIX DEVICENET ADAPTOR MODULE | discontinued | 12/31/2016 | CHANGE TO ETHERNET/IP NETWORK
C0046877 | 处理器 | 1769-L32E | 1769-L32E | 1769-L32E | COMPACTLOGIX 750KB ENET CONTROLLER | endoflife | 12/20/2020 | ASCII MODULE TO REPLACE SERIAL
C0046876 | 模入模块 | 1769-OF8C | 1769-OF8C | 1769-OF8C | COMPACTLOGIX 8 PT A/O CURRENT MODULE | active
C0046847 | 电源模块 | 1769-PA4 | 1769-PA4 | 1769-PA4 | CMPLX SELECTABLE AC 4A/2A POWER SUPPLY | active
C0046755 | 本地扩展电缆 | 1771-ALX | 1771-ALX | 1771-ALX | 1771 COMBINATION MODULE | discontinued | 12/31/2014 | MIGRATE TO RA LOGIX
C0046837 | 模块 | 1771-IFE/A | 1771-IFE | 1771-IFE | ANALOG INPUT MODULE | discontinued | 05/31/2017 | MIGRATE TO RA LOGIX
C0046836 | 模拟量输出模块 | 1771-OFE2/B | 1771-OFE2 | 1771-OFE2 | ANALOG OUTPUT MODULE | mature |  | MIGRATE TO RA LOGIX
C0083684 | 交换机 | 1783-US8T | 1783-US8T | 1783-US8T | STRATIX 2000 8T PORT UNMANAGED SWITCH | active
C0046851 | 存储卡 | 1784-CF64 | 1784-CF64 | 1784-CF64 | CONTROLLOGIX COMPACTFLASH CARD | discontinued | 07/15/2012
C0046770 | 网卡 | 1784-KTCX15 | 1784-KTCX15 | 1784-KTCX15 | CONTROLNET 1.5 PC CARD | discontinued | 10/31/2012
C0046773 | 网卡 | 1784-KTX | 1784-KTX | 1784-KTX | ISA BUS PC CARD W/DH+, DH485 & RIO | discontinued | 08/30/2010 | MIGRATE TO RA LOGIX
C0061093 | 网卡 | 1784-PCIC A | 1784-PCIC | 1784-PCIC | CONTROLNET PCI PC COMMS CARD | endoflife | 08/31/2021 | NOT APPLICABLE
C0046779 | 分支器 | 1786-BNC | 1786-BNC | 1786-BNC | CONTROLNET MEDIA COAXIAL BNC CONNECTOR | mature |  | 1585 Ethernet cable/Stratix
C0046839 | CN网线工具 | 1786-CTK | 1786-CTK | 1786-CTK | CONTROLNET MEDIA TOOLKIT | active
C0046776 | 网线 | 1786-RG6 | 1786-RG6 | 1786-RG6 | CONTROLNET COAXIAL 1000 FEET CABLE | mature |  | 1585 Ethernet cable
C0046842 | 光纤中继器 | 1786-RPA | 1786-RPA | 1786-RPA | CONTROLNET MODULAR REPEATER ADAPTOR | mature |  | Stratix
C0046883 | 中继器 | 1786-RPFM | 1786-RPFM | 1786-RPFM | CONTROLNET FIBER RING MEDIUM REPEATER | mature |  | Stratix
C0046756 | 电缆分支器 | 1786-TPS | 1786-TPS | 1786-TPS | CONTROLNET 1 M COAXIAL STRAIGHT T-TAP | mature |  | 1585 Ethernet cable/Stratix
C0046772 | 终端电阻 | 1786-XT | 1786-XT | 1786-XT | CONTROLNET MEDIA BNC TERMINATOR | mature |  | 1585 Ethernet cable/Stratix
C0046808 | CONTROL NET网卡 | 1788-CNC | 1788-CNC | 1788-CNC | FLEXLOGIX COMMUNICATION MODULE | discontinued | 11/11/2015 | COMPACTLOGIX OR CONTROLLOGIX
C0046767 | 适配器 | 1794-ACN15 | 1794-ACN15 | 1794-ACN15 | FLEX CONTROLNET ADAPTER | mature |  | 1794-AENT, 1794-AENTR
C0046809 | 本地扩展适配器 | 1794-FLA | 1794-FLA | 1794-FLA | FLEX LOGIX FLEXBUS2 LOCAL I/0 ADAPTER | discontinued | 07/31/2011
C0046771 | 远程开入模块 | 1794-IB16 | 1794-IB16 | 1794-IB16 | FLEX 16 POINT DIGITAL INPUT MODULE | active
C0046834 | 远程数字量输入/输出模块 | 1794-IB16XOB16P/A | 1794-IB16XOB16P | 1794-IB16XOB16P | FLEX 32 POINT DIGITAL COMBINATION MODULE | active
C0046828 | 远程数字输入模块 | 1794-IB32/A | 1794-IB32 | 1794-IB32 | FLEX 32 POINT DIGITAL INPUT MODULE | active
C0046833 | 远程模拟量输入/输出模块 | 1794-IE4XOE2/B | 1794-IE4XOE2 | 1794-IE4XOE2 | FLEX 4 INPUT 2 OUTPUT ANALOG MODULE | active
C0046831 | 远程模拟量输入模块 | 1794-IE8/B | 1794-IE8 | 1794-IE8 | FLEX 8 POINT ANALOG INPUT MODULE | active
C0046777 | 模块 | 1794-IR8 | 1794-IR8 | 1794-IR8 | FLEX 8 POINT RTD INPUT MODULE | active
C0046778 | 模块 | 1794-IT8 | 1794-IT8 | 1794-IT8 | FLEX 8 THERMOCOUPLE INPUT MODULE | active
C0046807 | CPU模块 | 1794-L34 | 1794-L34 | 1794-L34 | FLEX LOGIX PROCESSOR,512KBYTES USER MEM | discontinued | 09/30/2009
C0046830 | 远程数字输出模块 | 1794-OB16/A | 1794-OB16 | 1794-OB16 | FLEX 16 POINT DIGITAL OUTPUT MODULE | active
C0046829 | 远程数字输出模块 | 1794-OB32P/A | 1794-OB32P | 1794-OB32P | FLEX 32 POINT DIGITAL OUTPUT MODULE | active
C0046805 | 模拟量输入模块 | 1794-OE4/P | 1794-OE4 | 1794-OE4 | FLEX 4 POINT ANALOG OUTPUT MODULE | active
C0046832 | 远程模拟量输出模块 | 1794-OE4/B | 1794-OE4 | 1794-OE4 | FLEX 4 POINT ANALOG OUTPUT MODULE | active
C0046806 | 继电器输出模块 | 1794-OW8 | 1794-OW8 | 1794-OW8 | FLEX 8 POINT RELAY OUTPUT MODULE | active
C0046855 | 电源模块 | 1794-PS13 | 1794-PS13 | 1794-PS13 | FLEX POWER SUPPLY | active
C0046804 | 电源模块 | 1794-PS3 | 1794-PS3 | 1794-PS3 | FLEX POWER SUPPLY | active
C0046810 | 接线端子块 | 1794-TB3 | 1794-TB3 | 1794-TB3 | FLEX TERMINAL BASE | active
C0078015 | 接线端子 | 1794-TB32 | 1794-TB32 | 1794-TB32 | FLEX TERMINAL BASE | active
C0062565 | AB模块带程序（洛阳隆盛） | 2080-LC30-24QWB | 2080-LC30-24QWB | 2080-LC30-24QWB | MICRO830 24 I/O CONTROLLER | active
C0046818 | 模拟量输出模块 | 1756-OF8A | 1756-OF8 | 1756-OF8 | CONTROLLOGIX 8 PT A/O I OR V MODULE | active
C0046863 | 通讯线 | 1747-CP3-USB | 1747-CP3 | 1747-CP3 | SLC 5/03 PROGRAMMER RS-232 CABLE | mature |  | MIGRATE TO CMX SOLUTION
C0046858 | 通讯线 | 1746-c9 | 1746-C9 | 1746-C9 | SLC 36 INCH INTERCONNECT CABLE | mature
C0046856 | CPU | 1746-L531 | 1747-L531 | 1747-L531 | SLC 5/03 8K CONTROLLER | discontinued | 08/31/2018 | MIGRATE TO CMX SOLUTION
C0046790 | T型头 | 1756-TPR | 1786-TPR | 1786-TPR | CONTROLNET 1M COAXIAL RIGHT ANGLE T-TAP | mature |  | 1585 Ethernet cable/Stratix
C0046795 | 存储卡 | 1864-CF64 | 1784-CF64 | 1784-CF64 | CONTROLLOGIX COMPACTFLASH CARD | discontinued | 07/15/2012
C0046812 | 光纤 | RG6F(300M) | 1786-RG6F | 1786-RG6F | CONTROLNET COAX 1000 FT HIGH FLEX CABLE | discontinued | 05/12/2017 | NOT APPLICABLE
C0046849 | 开关量输出模块 | 1746-0B16 | 1746-OB16 | 1746-OB16 | SLC 16 POINT DC OUTPUT MODULE | mature |  | 1746-OB32
C0046815 | 模板 | 1771- 0FE1 | 1771-OFE1 | 1771-OFE1 | ANALOG OUTPUT MODULE | mature |  | MIGRATE TO RA LOGIX
C0046814 | 模板 | 1771-0W16 | 1771-OW16 | 1771-OW16 | 1771 8 POINT DIGITAL OUTPUT MODULE | mature |  | MIGRATE TO RA LOGIX
C0069252 | 模拟量输入 | 1756-ITB16 | 1756-IT16 | 1756-IT16 | CONTROLLOGIX 16 PT TC INPUT MODULE | active
C0046874 | 输入模块 | 1769-IO16 | 1769-IQ16 | 1769-IQ16 | COMPACTLOGIX 16 PT 24VDC D/I MODULE | active
C0046864 | 通讯线 | 1761-CBL-PM02-USB | 1761-CBL-PM02-USB | 未查到
C0046843 | 光纤环网中继器 | 1786-RPARPFRXL | 1786-RPARPFRXL | 未查到
C0046798 | DEVICE NET网卡电源 | 1757-CNB | 1757-CNB | 未查到
C0046768 | 通讯电缆 | 1747-CP15 | 1747-CP15 | 未查到
C0046781 | 通讯电缆 | 1770-CD | 1770-CD | 未查到
C0046882 | 通讯模块 | 1769-ENBR | 1769-ENBR | 未查到
C0046857 | 机架 | 1746-A16 | 1746-A16 | 未查到
C0046878 | 接口模块 | 1769-SND | 1769-SND | 未查到
C0046811 | 接线端子块 | 1794-TBNT | 1794-TBNT | 未查到
C0046802 | 可拆卸端子块 | 1756-TBNF | 1756-TBNF | 未查到
C0046813 | 扩展电缆 | 1794-CE | 1794-CE | 未查到
C0046875 | 输出模块 | 1769-OB13 | 1769-OB13 | 未查到
C0062964 | 喷吹控制板 | SXC-8a1-3.dc 24V | SXC-8a1-3.dc 24V | 未查到
C0046895 | AC500 PLC 含软件 | PM590-ETH 1SAP150000R0271 | PM590-ETH 1SAP150000R0271 | 未查到
C0046894 | CPU接口模块 | TB521-ETH 1SAP112100R270 | TB521-ETH 1SAP112100R270 | 未查到
C0073118 | PLC电池 | CR14250SE(3V) | CR14250SE | 未查到
C0046869 | 安全PLC | PLCTO B46V2 20--070-17 | PLCTO B46V2 20--070-17 | 未查到
C0046890 | 电流变送器 | I480L-154 3BSM003664-7 | I480L-154 3BSM003664-7 | 未查到
C0046889 | 电压变送器 | U400L 3BSM003664-23 | U400L 3BSM003664-23 | 未查到
C0046891 | 电压传感器 | U480L-154x5 3BSM001860-2 | U480L-154x5 3BSM001860-2 | 未查到
C0046892 | 电压电流传感器 | vVU400L-154 3BSM003664-41 | vVU400L-154 3BSM003664-41 | 未查到
C0046898 | 电源 | PS/1AC/24DC/20 3BSM001866-18 | PS/1AC/24DC/20 3BSM001866-18 | 未查到
C0046873 | 电源 | PS/1AC/24DC/5 3BSM001866-17 | PS/1AC/24DC/5 3BSM001866-17 | 未查到
C0046845 | 隔离器 | NPGL-CM11D | NPGL-CM11D | 未查到
C0046884 | 隔离器 | ZL534 | ZL534 | 未查到
C0046888 | 功率变送器 | PQ300-0544 3BSM003664-13 | PQ300-0544 3BSM003664-13 | 未查到
C0046854 | 光纤 | 1403CF010 | 1403CF010 | 未查到
C0046879 | 集线器 | ADAM-6520L | ADAM-6520L | 未查到
C0046897 | 接口开关 | CM577-ETH 1SAP170700R0001 | CM577-ETH 1SAP170700R0001 | 未查到
C0046840 | 接口模块 | MV156-PDPMV1 | MV156-PDPMV1 | 未查到
C0046841 | 接口模块 | MV156-PDPS | MV156-PDPS | 未查到
C0046893 | 晶闸管控制器 | TE10A 25A 240V 3BSM009500-1 | TE10A 25A 240V 3BSM009500-1 | 未查到
C0069258 | 开关量输入模块 | BL67-8DI-P DC24V | BL67-8DI-P DC24V | 未查到
C0046899 | 控制脉冲单元 | 3BSM005423-A | 3BSM005423-A | 未查到
C0046871 | 控制面板含软件 | PP826 3BSE042244R1 | PP826 3BSE042244R1 | 未查到
C0069257 | 模块 | XINJE FC-3222-C | XINJE FC-3222-C | 未查到
C0069259 | 模拟量输出模块 | 8DO-0.5A-P | 8DO-0.5A-P | 未查到
C0046868 | 模拟输入输出模块 | AX522 1SAP250000R0001 | AX522 1SAP250000R0001 | 未查到
C0046846 | 配电器 | NPPD-CM11D | NPPD-CM11D | 未查到
C0062965 | 喷吹控制板 | SXC-8a1-3.dc 24V | SXC-8a1-3.dc 24V | 未查到
C0046880 | 人机界面 | 2711P-T10C4DB | 2711P-T10C4DB | 未查到
C0046881 | 人机界面支撑 | LA-52-1 | LA-52-1 | 未查到
C0046867 | 数字输入输出模块 | DC523 1SAP240500R0001 | DC523 1SAP240500R0001 | 未查到
C0046870 | 网关 | GATE-P1 20--070-70 | GATE-P1 20--070-70 | 未查到
C0069260 | 信号隔离器 | 340-C1-Y-DIN-NCR输入/输出4-20MA | 340-C1-Y-DIN-NCR输入/输出4-20MA | 未查到
C0046866 | 终端模块 | TU516 24VDC 1SAP212000R0001 | TU516 24VDC 1SAP212000R0001 | 未查到
C0046896 | 主PROFIBUS | CM527-DP 1SAP170200R0001 | CM527-DP 1SAP170200R0001 | 未查到
C0046872 | 主滤器 | FN2070-25-08 3BSM001862-10 | FN2070-25-08 3BSM001862-10 | 未查到